Scintillator Analogue Hadron Calorimeter

LCC Detector R&D

## Felix Sefkow (DESY) April 2014

# Synopsis

With the advent of silicon photo-multipliers (SiPMs), the scintillator tile technology became a candidate for highly granular particle flow calorimetry. With analogue read-out, energy and spatial resolution can be optimized independently. The particle flow performance is well understood; all published studies using Pandora are based on this technology.

The CALICE AHCAL was the first large LC hadron calorimeter prototype to be exposed to test beams. Analysis is nearly complete and mostly published; the results validate the technology and the simulations.

The development of engineering solutions for a realistic detector is on its way. The integration of read-out electronics and calibration system into the detector layers has been demonstrated. The next step, an integrated stack, is being prepared. In parallel, as improved photo-sensors become available from industry, the design of the basic read-out cell – the tile with SiPM – is optimized with regard to mass production procedures.

# Past and present R&D: test beam data analysis

The following results using data taken the first AHCAL “physics” prototype in 2006 – 2011 at CERN and Fermilab have been **published** **in peer-reviewed** **journals**:

1. Detector construction, noise and ageing studies [[1]](#endnote-1)
2. Electromagnetic linearity and resolution [[2]](#endnote-2)
3. Hadronic linearity and resolution, software compensation [[3]](#endnote-3)
4. Test of particle flow algorithms (AHCAL with SiW ECAL) [[4]](#endnote-4)
5. Studies using a scintillator SiPM based tail catcher [[5]](#endnote-5)
6. Geant 4 validation with pion showers [[6]](#endnote-6)
7. Geant 4 validation with tungsten absorber (low energy) [[7]](#endnote-7)
8. Imaging capabilities, track segments [[8]](#endnote-8)

We consider all of them as critical for validating a given HCAL technology. Papers 6, 7 and 8 appeared in the last year since the ILC TDR was handed over.

**Preliminary** results have been made public in the form of **CALICE analysis** **notes** after intense internal reviewing on the following topics:

1. Combined performance SiW ECAL + AHCAL + Tail Catcher [[9]](#endnote-9)
2. Leakage estimation using shower topology [[10]](#endnote-10)
3. Time structure of showers in Fe and W [[11]](#endnote-11)
4. Geant 4 validation with protons [[12]](#endnote-12)
5. Parameterisation of pion and proton shower shapes[[13]](#endnote-13)
6. Geant 4 validation with tungsten absorber (high energy) [[14]](#endnote-14)

Notes 4, 5 and 6 appeared in the last year since the release of the ILC TDR. The studies are actively been followed up towards final publication; only the leakage study is presently uncovered due to lack of manpower.

Studies of the combined performance of the AHCAL in conjunction with the scintillator tungsten ECAL with MPPC readout are on-going. Results are expected in the coming year and will make the analysis of the first generation test beam data complete.

Data taking with a first, partially instrumented stack of the second generation has started at DESY and will continue in fall 2014 with electrons and hadrons at CERN. A framework for analysis software exists, but there is still a lot to do. In particular, calibration and correction procedures for timing measurements need to be developed.

The CALICE test beam results are nowadays the primary source of validation for hadron shower simulation, according to Geant 4 representatives, and extremely valuable for other HEP experiments, e.g. at the LHC, as well.

We finally note that test beam analysis plays an important role in training our students. Roughly speaking, each paper or note corresponds to one or several PhD theses. It is a distributed effort; the results have been obtained at DESY, CERN, MPI Munich, Hamburg, Heidelberg, Mainz and Wuppertal universities, ITEP Moscow and Northern Illinois University.

# Past and present R&D: technology

## Optimisation of the scintillator SiPM read-out cell

As a consequence of the wide success of SiPM applications in other fields, e.g. in medical imaging, the development of improved sensors is dynamically pursued in industry, and several groups (ITEP, MEPhI, Shinshu, Hamburg) are in close contact with leading producers. Progress has been made in terms of dark rate, noise above MIP threshold and dynamic range. In addition, the samples are much more homogenous than at the time of the first prototype, which results in a simplification of commissioning and calibration procedures.

In the time since the TDR, tile SiPM cells without wave-length shifting fibre have been developed, following a design by MPI Munich. One is based on machined, individually wrapped scintillator plates (Hamburg), the other one on injection-moulded tiles (ITEP). Both are using sensors from KETEK, those on the moulded tile have a very large dynamic range. 300 devices have been produced and tested at ITEP, and more than thousand devices have been produced and tested with semi-automatic procedures at Hamburg and Heidelberg. Part of them has been integrated into the test beam set-up early this year. This version is a good candidate for a baseline design for a full detector, but more data taking and analysis is needed.

Industrialisation of the SiPM and tile design and production procedures is a long-standing item, but tests with industrial facilities such as automatic pick-and-place machines have begun only recently (Mainz). This needs to be continued in the coming years, fed back into the cell optimisation, and awaits a feasibility demonstration at larger scale.

An alternative design, with photo-sensors integrated in the read-out electronics board, has been proposed some time ago (Northern Illinois), but the detailed development of the corresponding sensor and scintillator configuration has only recently been taken up again (NIU, Mainz, ITEP). It has the potential to result in further simplifications (which should be read as cost and time savings), but poses higher performance requirements to the SiPM and raises new issues in the quality assurance and integration chain. The goal is to develop such an alternative solution in the next 2-3 years.

### Electronics and active layer integration

The design of the active layers (DESY) with integrated read-out ASICs (LAL/OMEGA) and calibration system (Wuppertal) has been basically validated in beam tests of a single HCAL layer consisting of four base units (HBUs) at CERN in 2012 and reported in the TDR. An HBU reads 12x12 tiles with 4 ASICs. The present ASIC belongs to the 2nd generation ROC family used also in ECAL and SDHCAL. An HCAL layer carries interfaces for DAQ, calibration and power supply, which already have a compact design fulfilling space constraints at an ILC detector.

The main difference between the integrated electronics and that of the physics prototype is the self-triggered operation and on-detector zero-suppression, which implies much higher demands on controlling the noise behaviour and ensuring a stable detector response. It is thus mandatory to re-establish the calorimeter performance with a full-scale beam test. However, this is out of reach with present funding levels.

Further R&D in the next years has to be done both on the ASIC and on the PCB. For the ASIC, development of a 3rd generation ROC chip will start after fixing open issues with the 2nd generation (OMEGA). The 3rd will have a more robust slow control architecture and channel-wise buffer management which improves rate capabilities. In parallel, an alternative design of the analogue part (Heidelberg), which can handle a larger range of sensor gain needs to be complemented with a digital part.

The PCB with integrated photo-sensors, as counterpart of the corresponding tile design (see 1.), needs to be developed, taking automatic production and quality assurance into account. The PCB is also one of the main cost drivers of a particle flow HCAL. Dedicated R&D, in close cooperation with industrial manufacturers, is necessary to bring the cost down. First contacts have been made (DESY, Heidelberg, SKKU Korea).

### System integration

While the integration of layers is well advanced, that of entire stacks or module has only begun. Since the TDR release, efforts concentrated on developing a multi-layer DAQ capable of reading larger systems (DESY, Mainz). An intermediate version has been used in an electron beam test of an 8 layer stack at DESY in early 2014.

Work has been intensified to further develop the DAQ towards a scalable system, with the goal to have it ready for beam tests at CERN starting in fall 2014. It involves integration of a dedicated module data concentrator, which collects signals from all layers for sending them to the off-detector data receiver.

Further work will be required to integrate the HCAL DAQ into a higher level system for the purpose of combined beam tests, for example with a tracking device for uniformity studies, or with an ECAL for inter-calibration and combined performance. The same is true for slow control data.

A power supply system with optimised channel density per module is being developed at Dubna.

It has been demonstrated that temperature-induced variations of the SiPM gain can be compensated by adjusting the bias voltage (Prague, Bergen). The approach has the potential to stabilise the detector response and trigger efficiency and thus simplify operations significantly. Automatic procedures based on this principle need to be developed and implemented for a test at system level.

On the mechanical side, a cooling system needs to be developed. The ASICs integrated in the detector layers are power-pulsed and do not need active cooling, but the interfaces, in particular the power regulators, do. A simple solution for beam tests is on the way (DESY), but a leak-less under-pressure based system for a large detector still needs to be prototyped.

## Infrastructure for production, quality assurance and characterisation

The AHCAL is probably the sub-detector with the largest number of individual components. While the number of electronics boards, layers and interfaces is similar to other ECAL or HCAL options, the large quantity of tiles and SiPMs deserves special attention. This affects production and quality assurance, but also characterisation, i.e. test bench measurements of parameters to be used later for calibration purposes.

While it would be premature to discuss building up full production infra-structure, conceptual solutions need to be developed and exercised using demonstrators, which could be seen as prototypes of future installations. The demonstration requires reasonably large samples of detector elements, in the order of 10’000, as they would be needed for a next generation full prototype.

A semi-automatic test stand for SiPMs and tiles has been developed at Heidelberg and used for the elements of the early 2014 beam test. It needs to be adapted for future designs, e.g. with SiPMs integrated in the PCB.

Automatic assembly of HBUs (Mainz), i.e. of placing and soldering tiles and SiPMs on the PCB, needs to be demonstrated in practice, too. First encouraging tests with individual samples have been reported, but obviously only larger scale tests can validate the concept.

## Absorber structure

The absorber structure bears more challenges than conventional hadronic calorimeters. Due to the much finer longitudinal segmentation and the imperative to minimise the total radius inside the coil, there are many active gaps with tight tolerances. A design has been developed and prototyped, which achieves the required tolerances with a cost-effective roller-levelling process without machining off excess material (DESY). Two test structures have been built; one covers the full transverse cross section of a barrel module, the other the full lateral extension. The cassettes (DESY, MPI Munich) housing the active elements have the final design and are used in beam tests.

These structures need to be investigated with respect to their robustness against earthquakes (DESY). Simulations of the whole ILD structure have been initiated, and measurements on the test structures exposed to accelerating forces should be done.

As enough active elements become available for instrumenting several active layers at full size, the thermal simulations should be verified with measurements, too.

# Summary

The AHCAL effort has produced a number of significant results in the time since the ILC TDR:

* Publication of 3 journal papers and 3 preliminary results in the form of internally reviewed notes, on Geant 4 validation with pions and protons in steel and tungsten, including new observables like track segments
* Development, production and beam test of a new, simplified tile SiPM system without wave-length shifting fibres and improved sensor performance
* Test with electron beams of a small stack with second generation electronics and DAQ in a realistic absorber structure

The AHCAL is ready to make the next step towards a realistic full-scale prototype and a technical design report. In order to achieve this, coordinated R&D is required in the following areas:

Software and analysis:

* Completion of physics prototype test beam analysis
* 2nd generation prototype reconstruction and simulation software
* Development of timing reconstruction
* Analysis of 2nd generation test beam data

Tile SiPM system:

* Development of scintillator SiPM system with SiPM on the PCB
* Development of associated assembly, quality assurance and characterisation procedures
* Development of associated PCB

Electronics:

* 3rd generation ASIC of ROC family
* ASIC for larger range of SiPM gains
* PCB cost optimisation

System integration:

* Scalable DAQ
* Module level data collector
* Integration of DAQ and slow control into higher level system
* Implementation of temperature compensation scheme
* Power supply system
* Cooling system

Mass production concepts:

* Semi-automatic test stands
* Automatic placement and soldering of tiles and SiPMs

Absorber structure:

* Earthquake stability calculations and tests
* Thermal tests with full-scale instrumented and powered structures

There are ample opportunities for new groups to join into any of these fields, depending on the special competences they wish to contribute.

Particular engineering challenges are

* Assess and ensure earthquake stability of the absorber structure whilst maintaining a minimum of dead material
* Developing an active layer element consisting of tiles, SiPMs and readout electronics that can be automatically assembled, including production and quality assurance procedures

# Contributing groups

The AHCAL effort is organized with a reasonable degree of task sharing. The table below lists the participating institutes and their main fields of activity:

DESY: steel structures, electronics and integration, test beam support,

software, project management

Hamburg: SiPMs and tile optimisation, test beam and commissioning with DESY

Heidelberg: high gain ASICs, SiPM mass tests and characterisation

MPI Munich: SiPM development, tile optimisation, cassettes, fast timing

Wuppertal: embedded LED electronics and test stands

Mainz: DAQ central components, AHCAL data concentrator, mass production

Omega: SPIROC ASICs

CERN: tungsten absorber, testbeam and Geant4 support

ITEP: tiles and SiPMs, test bench characterisation

MEPHI: SiPM development

Dubna: power supplies and distribution

Prague: fibre based LED system, temperature compensation

NIU: alternative SiPM coupling, DAQ interface

Bergen: calibration studies, temperature compensation

Shinshu scintillator strip alternative, photo-sensors

1. # References

   Adloff, C, et al. (CALICE) (2010), “Construction and Commissioning of the CALICE Analog Hadron Calorimeter Prototype,” JINST 5, P05004, arXiv:1003.2662 [physics.ins-det]. [↑](#endnote-ref-1)
2. Adloff, C, et al. (CALICE) (2011), “Electromagnetic response of a highly granular hadronic calorimeter,” JINST 6, P04003, arXiv:1012.4343 [physics.ins-det]. [↑](#endnote-ref-2)
3. Adloff, C, et al. (CALICE Collaboration) (2012c), “Hadronic energy resolution of a highly granular scintillator-steel hadron calorimeter using software compensation techniques,” JINST 7, P09017, arXiv:1207.4210 [physics.ins- det]. [↑](#endnote-ref-3)
4. Adloff, C, et al. (CALICE) (2011), “Tests of a particle flow algorithm with CALICE test beam data,” JINST 6, P07005, arXiv:1105.3417 [physics.ins-det]. [↑](#endnote-ref-4)
5. Adloff, C, et al. (CALICE) (2012), “Construction and performance of a silicon photomultiplier/extruded scintillator tail-catcher and muon-tracker,” JINST 7, P04015, arXiv:1201.1653 [physics.ins-det]. [↑](#endnote-ref-5)
6. Adloff, C, et al. (CALICE) (2013), “Validation of GEANT4 Monte Carlo Models with a Highly Granular Scintillator-Steel Hadron Calorimeter”, JINST 8, P07005, arXiv:1306.3037 [physics.ins-det]. [↑](#endnote-ref-6)
7. Adloff, C, et al. (CALICE) (2013), “Shower development of particles with momenta from 1 to 10 GeV in the CALICE Scintillator-Tungsten HCAL,” arXiv:1311.3505 [physics.ins-det]. [↑](#endnote-ref-7)
8. Adloff, C, et al. (CALICE) (2013), “Track segments in hadronic showers in a highly granular scintillator-steel hadron calorimeter,” JINST 8, P09001, arXiv:1305.7027 [physics.ins-det]. [↑](#endnote-ref-8)
9. Adloff, C, et al. (CALICE) (2009), “Initial Study of Hadronic Energy Resolution in the Analog HCAL and the Complete CALICE Setup,” CALICE Analysis Note CAN-015. [↑](#endnote-ref-9)
10. Adloff, C, et al. (CALICE) (2011), “Shower leakage in a highly granular calorimeter,” CALICE Analysis Note CAN-029. [↑](#endnote-ref-10)
11. Adloff, C, et al. (CALICE) (2012), “The Time Structure of Hadronic Showers in Tungsten and Steel with T3B,” CALICE Analysis Note CAN-038. [↑](#endnote-ref-11)
12. Adloff, C, et al. (CALICE) (2013), “Pion and proton showers in the CALICE scintillator-steel AHCAL: comparison of global observables,” CALICE Analysis Note CAN-040. [↑](#endnote-ref-12)
13. Adloff, C, et al. (CALICE) (2014), “Parametrisation of hadron shower profiles in the CALICE Sc-Fe AHCAL,” CALICE Analysis Note CAN-048. [↑](#endnote-ref-13)
14. Adloff, C, et al. (CALICE) (2013), “Shower development of particles with momenta from 10 to 100 GeV in the CALICE scintillator-tungsten HCAL,” CALICE Analysis Note CAN-044. [↑](#endnote-ref-14)